SHM(P)_Visual_Inspection_To display text

Conducted a detailed visual inspection of a multi-storey RCC residential building to assess its structural health and serviceability. The study involved identifying defects such as cracks, spalling, corrosion, and seepage across key structural components including columns, beams, slabs, and walls. Based on observations, the building was classified under a fair condition category, with targeted repair and maintenance strategies proposed to enhance durability and extend service life.